## Summary
Castillo Planset QC Summary
Project | Girard Test | Category | Total | Pass | Fail | Needs Review | Overridden
Original file | Girard - 90% Sealed.pdf | Drawing Index | 4 | 4 | 0 | 0 | 0
Created | 2026-03-24T18:37:33.720849+00:00 | Title Block | 2 | 2 | 0 | 0 | 0
|  | Cover Sheet | 2 | 2 | 0 | 0 | 0
Metric | Value | General Notes | 1 | 1 | 0 | 0 | 0
PDF pages | 31 | Site Plan | 1 | 1 | 0 | 0 | 0
Indexed sheets | 31 | Pole Line Up | 1 | 1 | 0 | 0 | 0
Actual sheets | 31 | Engineered Equipment List | 1 | 1 | 0 | 0 | 0
Pass | 22 | AC Single Line Diagram | 1 | 1 | 0 | 0 | 0
Fail | 0 | DC Line Diagram | 1 | 1 | 0 | 0 | 0
Needs Review | 1 | Feeder Plan | 1 | 1 | 0 | 0 | 0
Overridden / Accepted by QC Engineer | 0 | Communication Feeder Plan | 1 | 1 | 0 | 0 | 0
|  | Electrical Sheet | 1 | 1 | 0 | 0 | 0
|  | Elevation Details | 1 | 1 | 0 | 0 | 0
|  | Trenching Details | 1 | 1 | 0 | 0 | 0
|  | Overall Site Grounding Plan | 1 | 1 | 0 | 0 | 0
|  | CAB or Cable Hanger Details | 1 | 1 | 0 | 0 | 0
|  | Labels | 1 | 1 | 0 | 0 | 0
|  | PVSyst Analysis Summary | 1 | 0 | 0 | 1 | 0

## Issues
Category | Checklist Item | Status | Auto Status | Severity | Page | Confidence | Evidence | Description | Override Comment | Snippet
Drawing Index | Drawing index exists | Pass | Pass | medium | 1 | 0.98 | Parsed 31 indexed sheets from the cover sheet. | Cover sheet includes a drawing index.
Drawing Index | All indexed sheets are present | Pass | Pass | medium | 1 | 0.98 | Indexed sheet count matches actual extracted sheets (31). | Every sheet listed in the drawing index should be present in the PDF.
Drawing Index | No extra sheets outside the drawing index | Pass | Pass | medium | 1 | 0.97 | No extra sheets were detected beyond the drawing index. | PDF should not include extra sheets that are not listed in the drawing index.
Drawing Index | Sheet order matches drawing index | Pass | Pass | medium | 1 | 0.97 | Sheet order matches the drawing index. | Actual sheet order should follow the drawing index order.
Title Block | Each page has a sheet number | Pass | Pass | medium |  | 0.96 | Found sheet numbers on all 31 pages. | Every sheet should show a valid sheet number in the title block.
Title Block | Each page has a sheet title | Pass | Pass | medium |  | 0.89 | Sheet titles were parsed on every page. | Every sheet should show a readable sheet title in the title block.
Cover Sheet | Cover sheet includes basic project info | Pass | Pass | medium | 1 | 0.95 | Found keywords: PROJECT NAME, OWNER, ENGINEERING FIRM, SITE LOCATION; coordinates found: True | Project name, address, and coordinates should appear on the cover sheet.
Cover Sheet | System information table looks populated | Pass | Pass | medium | 1 | 0.94 | Found system fields: MODULE, INVERTER, TOTAL AC SIZE, TOTAL DC SIZE, RACKING, DC/AC RATIO | Cover sheet should contain core module, inverter, DC size, AC size, and racking info.
General Notes | General notes sheet exists | Pass | Pass | medium | 2 | 0.96 | Found sheets: E-002 | A general notes sheet should be present.
Site Plan | Site plan contains key callouts | Pass | Pass | medium | 3 | 0.84 | Found site plan keywords: SCALE:, PROPERTY LINE, FENCE, ACCESS, WEATHER STATION | Check for north arrow, scale, property line, fence, pad, access, and weather station references.
Pole Line Up | Pole line up contains key items | Pass | Pass | medium | 4 | 0.83 | Found pole line up keywords: SCALE:, POH, LEGEND | Check for north arrow, scale, POI references, and MV callouts.
Engineered Equipment List | Equipment list sheet exists | Pass | Pass | medium | 5 | 0.96 | Found sheets: E-050 | Engineered equipment list should be included.
AC Single Line Diagram | Single line diagram sheets exist | Pass | Pass | medium | 6 | 0.96 | Found sheets: E-100, E-101 | Single line diagram sheets should be included in the set.
DC Line Diagram | DC line diagram sheet exists | Pass | Pass | medium | 8 | 0.96 | Found sheets: E-102 | DC line diagram should be present.
Feeder Plan | Feeder plan sheets exist | Pass | Pass | medium | 14 | 0.96 | Found sheets: E-210, E-211, E-212 | Overall or equipment area feeder plan sheets should be present.
Communication Feeder Plan | Communication plan sheets exist | Pass | Pass | medium | 17 | 0.96 | Found sheets: E-220, E-221 | Communication plan sheets should be present.
Electrical Sheet | Circuit schedules exist | Pass | Pass | medium | 19 | 0.96 | Found sheets: E-300, E-301, E-302 | DC and AC circuit schedules should be included.
Elevation Details | Elevation detail sheets exist | Pass | Pass | medium | 22 | 0.96 | Found sheets: E-400, E-401 | Elevation detail sheets should be included.
Trenching Details | Trenching detail sheet exists | Pass | Pass | medium | 24 | 0.96 | Found sheets: E-450 | Conduit trenching detail sheet should be included.
Overall Site Grounding Plan | Grounding sheets exist | Pass | Pass | medium | 25 | 0.96 | Found sheets: E-500, E-501, E-502 | Grounding plan sheets should be present.
CAB or Cable Hanger Details | CAB hanger detail sheet exists | Pass | Pass | medium | 28 | 0.96 | Found sheets: E-503 | CAB or cable hanger detail sheet should be included.
Labels | Labels sheet exists | Pass | Pass | medium | 29 | 0.96 | Found sheets: E-800 | Labels sheet should be included.
PVSyst Analysis Summary | PVSyst summary available | Needs Review | Needs Review | low |  | 1 | No external PVSyst report was provided in this run. | PVSyst report is external for now. Upload support can be added later, so this starts as needs review.